SLIT-SKIN SMEAR FOR LEPROSY

The slit-skin smear for leprosy is a type of procedure that is mainly used in detecting acid-fast bacilli (Mycobacterium leprae) This procedure is performed in patients that have leprosy.

Principle

The slit-skin smear for leprosy procedure relies on the Ziehl-Neelsen stain technique. This technique is used in order to visualize Mycobacterium leprae. These Mycobacterium leprae are resistant to decolorization that is caused by acid after staining.

Clinical Reason for performing slit-skin smear for Leprosy:

This procedure is done when diagnosing leprosy, monitory treatment reactions, and determining bacterial load.

Specimen requirements include:

- Criteria for specimen collection: Earlobe skin or active lesions.

- Labeling: Patient ID and location of the collection.

- Storage: Must be air dried. Must be stored in a dry container until examination.

- Transportation: Must be shipped in dry areas and room temperature.

- Procedures for submission to central labs: Must follow proper protocols.

Procedures for microscopic examinations:

- Prepare the smears

- Stain it with Ziehl-Neelsen

- Observe it under oil immersion microscopy

Reagents or Media, Supplies, Equipment

| Reagents | Immersion oil, Ziehl-Neelsen stain (carbol fuchsin, acid-alcohol, methylene blue) |
| --- | --- |
| Supplies | Glass slides, cover slips, lancets or scalpels for skin incisions, sterile containers |
| Equipment | Microscope with oil immersion objective, staining setup (bunsen burner, staining rack) |
| Storage Requirements | Reagents should be stored at room temperature in a cool, dry place, protected from light |

Calibration  (If applicable)

• Frequency: The calibration of the microscope should be done yearly or as per lab standards.

• Instructions: Making sure that the microscope’s focus, light and magnification are working properly to ensure that you can clearly see the stained samples.

Quality Control

- Control Materials

  - Slides with known Mycobacterium leprae (Positive Controls)

- Frequency of testing

  - Must be done daily

  - Each with batch of staining

- Expected results

  - The control slides must clearly show the staining of bacilli

- Corrective actions

  - If the control fails, reagents and procedures must be rechecked.

- Recording and storage of QC data

  - Results must be documented in QC logs.

- Alternatives (If no QC materials are available)

Control materials: Positive controls (slides with known Mycobacterium leprae).

Frequency: Daily with each batch of staining.

Expected results: Control slides should show clear staining of bacilli.

Corrective actions: Recheck reagents and procedure if controls fail.

Recording: Document results in QC log.

Step-by-step Instructions

Quantitative Testing: Bacterial index is determined on the scale of 0-6 which is based on the density of bacilli

Qualitative Testing: Will either be positive or negative. This is for acid-fast bacilli

Interpretation: Positive results are indication of active or latent infection.

Calculations (if applicable)

Under a microscope it can be calculated based on the number of bacilli visible. Or the calculation of the bacterial index. This is based on the smear examination.

Reporting Results

Reference intervals: BI rating of 0-6

Procedures for reporting abnormal results: High bacterial load counts for immediate notification.

Reporting format Include:

- Patient details

- Date of visit

- Location where collection occur

- BI

Procedure Notes

• Special Precaution: Make sure that you wear the appropriate protective equipment (PPE) during sample collection and staining. Other than that, ensure adequate ventilation when handling reagents and specimens.

• Possible Sources of Error: Incorrect techniques in staining and contamination.

• Common Problems: Incomplete drying, faint staining and over-decolorization

Limitations of Methods

The procedure might not be able to detect the presence of low bacillary load. This is especially common in paucibacillary cases.

A Troubleshooting or Back-up Plan

In cases of issues when performing the procedure. Re-stain or Resample again with fresh reagents.

References

DIAGNOSTIC ACCURACY OF SLIT SKIN SMEARS IN LEPROSY. (n.d.). ResearchGate. Retrieved October 7, 2024, from https://www.researchgate.net/profile/Muhammad-Anwar-57/publication/334697742_Diagnostic_accuracy_of_slit_skin_smears_in_leprosy/links/5d3d4b14a6fdcc370a661089/Diagnostic-accuracy-of-slit-skin-smears-in-leprosy.pdf

4 V K Mahajan (177-183).cdr. (n.d.). Indian Journal of Leprosy. Retrieved October 7, 2024, from https://www.ijl.org.in/published-articles/14092021080445/4_V_K_Mahajan_(177-183).pdf

Preparation and Examination of Skin Smears. (2023, June 15). HRSA. Retrieved October 7, 2024, from https://www.hrsa.gov/hansens-disease/diagnosis/skin-smears

Slit-skin smear for the classification of leprosy; are we wasting time and resource? (n.d.). the Research Portal of the Institute of Tropical Medicine. Retrieved October 7, 2024, from https://research.itg.be/en/publications/slit-skin-smear-for-the-classification-of-leprosy-are-we-wasting-

Effective Date

October 7, 2024

Signature of Laboratory Director

Author: Gilov Juana V. Agoncillo