# Blood Typing Procedure

Blood typing is a laboratory test used to determine an individual's blood group (A, B, AB, or O) and Rh factor (positive or negative).

# Principle

Blood typing is based on the agglutination reaction between antigens on the surface of red blood cells and specific antibodies. When blood is mixed with anti-A, anti-B, and anti-D (Rh) sera, agglutination indicates the presence of the corresponding antigen.

## Clinical Reasons for Performing the Test

- To ensure compatibility for blood transfusions

- To determine Rh compatibility in pregnancy

- To identify blood type for organ transplantation

- To diagnose hemolytic disease of the newborn

## Specimen Requirements

| Specimen Type: | Whole blood |
| --- | --- |
| Volume: | 5 mL |
| Container: | EDTA tube (lavender top) |

## Criteria for Specimen Collection, Labeling, Rejection, Storage, Transport

### Collection

Venipuncture using standard aseptic technique

- Labeling

Patient's name, ID number, date, and time of collection

### Rejection

Hemolyzed samples, improperly labeled specimens

### Storage

Store at 2-8°C if not tested immediately

### Transport

Transport at 2-8°C within 24 hours

## Procedures for Submission to Central Labs

- Ensure proper labeling and documentation

- Use appropriate transport containers

- Submit with a completed requisition form

## Procedures for Microscopic Examinations

Not applicable for blood typing.

## Reagents or Media, Supplies, Equipment

| Reagents: | Anti-A, Anti-B, Anti-D (Rh) sera |
| --- | --- |
| Supplies: | Glass slides, applicator sticks, lancets, pipettes |
| Equipment: | Centrifuge, microscope (if needed for confirmation) |

## Preparation of Reagents, Stains, or Other Materials Used in Testing

Follow manufacturer's instructions for preparation and use of anti-sera.

## Storage Requirements

- Store reagents at 2-8°C

- Do not freeze reagents

- Check expiration dates regularly

## Calibration

Not applicable for blood typing

## Quality Control

| Control Materials: | Known blood type samples (positive and negative controls) |
| --- | --- |
| Preparation, Handling, and Storage: | Follow manufacturer's instructions |
| Frequency of Testing: | Daily before patient testing |
| Expected Results: | Known controls should show expected agglutination patterns |
| Corrective Actions: | Re-test with new reagents if controls fail |
| Recording and Storage of QC Data: | Document results in QC log |
| Alternatives: | Use commercial QC kits if available |

## Step-by-Step Instructions

1. Label slides with patient ID.

2. Place one drop of anti-A, anti-B, and anti-D sera on separate areas of the slide.

3. Add one drop of patient blood to each reagent drop.

4. Mix with separate applicator sticks.

5. Observe for agglutination within 2 minutes.

## Quantitative Testing

Not applicable for blood typing.

## Qualitative Testing

Interpretation:

- Agglutination with anti-A: Blood type A

- Agglutination with anti-B: Blood type B

- Agglutination with both: Blood type AB

- No agglutination: Blood type O

- Agglutination with anti-D: Rh positive

- No agglutination with anti-D: Rh negative

## Calculations

Not applicable for blood typing.

## Reporting Results

| Reference Intervals: | N/A |
| --- | --- |
| Procedures for Reporting Abnormal Results: | Immediate notification to the physician |
| Reporting Format: | Electronic or paper report with blood type and Rh factor |

## Procedure Notes

- Ensure proper mixing of blood and reagents

- Avoid contamination between samples.

## Special Precautions

- Use personal protective equipment (PPE).

- Handle all specimens as potentially infectious.

## Possible Sources of Error

- Hemolyzed samples

- Incorrect labeling

- Expired reagents

## Answers to Common Problems

| No agglutination: | Check reagent expiration, re-test with new reagents. |
| --- | --- |
| Weak agglutination: | Ensure proper mixing and adequate sample volume. |

## Limitations of Methods

- Cannot detect weak D antigen.

- False negatives in cases of very low antigen expression.

## A Troubleshooting or Back-Up Plan

- Repeat test with new reagents.

- Confirm results with an automated blood typing system if available.

## Signature of Laboratory Director

T-REX

## Job Aids

| Flow Diagrams: | Blood typing procedure flowchart |
| --- | --- |
| Poster: | Blood typing interpretation guide |

## Resources

- Manufacturer's Product Inserts

- Journals

- Publications

- Textbooks

## Effective Recording

- Focus on accuracy and detail.

- Ensure clarity and legibility.

- Verify and validate all steps.

- Follow standardized procedures.

## Patient Management

Ensure timely reporting of results for patient care.

## Public Health Management

Maintain accurate records for epidemiological studies.

AUTHOR: TREXIE MARIELLE O. CUARESMA

## References:

Healthline. (n.d.). Blood typing. Healthline. https://www.healthline.com/health/blood-typing

Lab Tests Online-UK. (n.d.). Blood typing. Lab Tests Online-UK. https://labtestsonline.org.uk/tests/blood-typing

MedlinePlus. (n.d.). Blood typing. MedlinePlus. https://medlineplus.gov/ency/article/003345.htm

American Red Cross. (n.d.). Blood types. American Red Cross. https://www.redcrossblood.org/donate-blood/blood-types.html

Mayo Clinic. (n.d.). Blood typing. Mayo Clinic. https://www.mayoclinic.org/tests-procedures/blood-type/about/pac-20385101

National Center for Biotechnology Information. (2011). Blood typing. NCBI.  https://www.ncbi.nlm.nih.gov/pmc/articles/PMC3078522/

World Health Organization. (n.d.). Blood transfusion safety. WHO. https://www.who.int/teams/blood-transfusion-safety